SECTION 28 15 21 ACCESS CONTROL

TELEPHONE ENTRY SYSTEMS

DoorKing Access Plus Series

Display hidden notes.  (Don’t know how?  Click Here)

This specification is based on products from DoorKing, Inc.

120 S. Glasgow Ave.

Inglewood, CA  90301

Tel:  800-826-7493

Fax:  310-641-1586

Email:	info@doorking.com

Web:		www.doorking.com

DoorKing (DKS) was founded in 1948.  The company is one of the largest and oldest manufacturers of access control and vehicular gate operator products in the United States and offers a full line of residential, commercial and industrial products to meet the needs of Architects, Designers, Engineers and Specifiers in almost any design or conceptual plan.  DoorKing is a registered provider of the American Institute of Architects continuing education system.  For learning objectives and to schedule a Lunch & Learn, please send a request to awright@doorking.com.  For a complete library of CSI format 3-part specs, CAD and BIM product renderings, visit doorking.com/architects-specifiers.

PART 1 GENERAL

1.1	WORK INCLUDED

A.	Furnish and install a complete microprocessor controlled, PC Programmable "full-duplex" circuitry voice communication, telephone entry and/or multi-door access control system as described herein and shown on the plans.  The system shall include all necessary boards, power supplies, keypads, loudspeakers, special mounting boxes, cable, connectors, and accessories for a complete operational communication system.

B.	Scope of work shall include communication for up to 27 telephone numbers and (as required) card, digital or RF transmitter access control with up to 100 card access device codes.

1.2	CONTRACT DOCUMENTS

A.	All equipment and work specified in this section shall comply, with all the General Conditions of the specifications, contract documents, and drawings as indicated.

1.3	RELATED WORK

A.	Contractor shall coordinate all work with other contractors and trades where necessary.

B.	All necessary conduit, raceways, pull boxes, standard boxes, (and special boxes provided by intercom manufacturer), shall be installed by the electrical contractor.

C.	Installation of the communication/access systems shall be coordinated with the installation of other related systems.

1.4	QUALITY ASSURANCE

A.	Installation shall comply with all applicable codes.

B.	All equipment shall be new, in current production, and the standard products of a manufacturer of telephone entry system equipment.

C.	Manufacturer shall guarantee availability of parts, for a minimum of 7-years from date of shipment.

D.	If required, manufacturer shall be able to demonstrate features, functions and operating characteristics.

E.	System shall be installed by a factory authorized contractor, with technicians specifically trained in this system.

F.	On-site maintenance and repair service shall be available locally and within 4-hours, of notification for emergency condition.

G.	System shall interface with other DoorKing systems to allow remote PC programming.

1.5	REFERENCE STANDARDS

A.	Underwriter Laboratories Inc. (UL), UL 294

B.	Telephone Entry System shall be tested for compliance to UL 294 and shall be LISTED by a Nationally Recognized Testing Laboratory (NRTL).

C.	Federal Communications Commission (FCC).

D.	Department of Commerce (DOC) (CAN).

1.6	SUBMITTALS

A.	Provisions:  Comply with Section 01300 SUBMITTALS.

B.	Shall include an equipment list, and data sheet, system description and block diagrams on equipment to be finished.

C.	Shall include all data necessary to evaluate design, quality, and configuration of proposed equipment and system(s).

1.7 	WARRANTY

A.	Systems shall include a factory warranty that equipment is free from defects in design, material, manufacturing and operation.

B.	Factory warranty period shall be for two (2) years parts and workmanship; 24-months from date of shipment. Manufacturer shall not be responsible for improper use, handling, or installation of the product.

C.	Installing communications contractor shall guarantee the equipment, wire, cable, and installation for 12-months from date of acceptance.

PART 2 - PRODUCTS

2.1	ACCEPTABLE MANUFACTURERS

A.	The system as described herein, is based on the Access Plus Series Telephone Entry & Access Control PC Programmable system manufactured by DoorKing, Inc., Inglewood, California. The Access Plus series system specified meets requirements of the specifications and shall be considered as the acceptable Base Bid.

B.	Substitutions must meet requirements of Prior Approval, as outlined in the contract documents.  Substitutions that meet Prior Approval requirements must be listed as alternates by addendum, and shall be shown separately on the bid forms.  Consideration will be based on ability to comply with all aspects of the specifications, the desired functional operation, quality, reliability, design, size, and appearance of the equipment, and the support capabilities of the manufacturer.

2.2	SYSTEM DESCRIPTION

A.	The telephone entry & access control system shall provide "full duplex," (hands-free at guest end) voice communication from the entry location to the resident telephone.  Half duplex or simplex type communication will not be allowed.

B. The system shall be capable of storing up to 27 phone numbers (exception; 1838 Access Plus), and up to 100 card, digital, and/or RF transmitter access codes.

C. The system transaction buffer shall store up to 500 events.

D. The system shall be capable of being programmed via a personal computer and DoorKing Remote Account Manager for Windows software (included with the system).  Several different methods of connection to the system shall be made available:

1.	Cellular

2.	Internet (VoIP)

3.	LAN (Local Area Network)

E.	The system shall provide for live control of system relays and shall be able to download the transaction buffer to the PC for analysis.

F.	The system shall be capable of independently controlling two main entry access points.  The system shall be able to control up to 6 additional (non-communicating) access points via RS-485 communication protocol.

See Section 2.4.A.

G.	A name directory shall be automatically created and sorted in alphabetical order that is suitable for printing and insertion into the access control system display directory (1808, 1810 only).

H.	Directory codes shall be programmable from one (1) to four (4) digits.

I.	10 Temporary access codes shall be user programmable.

J.	Tone-open numbers to grant guest access shall be programmable.

K.	Holiday Schedules shall be user programmable.

L.	Four (4) hold open time zones shall allow designated access points to be 'un-locked' at times and days as required.

M.	RS-485 Access Control Devices

1.	RF transmitter access requires the use of DoorKing Model 8053 MicroPLUS(tm) RF receiver, and the use of DoorKing MicroPLUS transmitters (1, 2 or 3 button as required).

2.	Card access may be provided by swipe, touch-plate or proximity card readers and their respective cards.

3.	Digital entry codes require the use of DoorKing 1513 Series keypads.

4.	DKS Weigand to RS 485 converter to convert weigand devices for use with Access Plus system.

N.	Cabinet

1.	Cabinets are constructed from 16-gauge steel and are lockable, gasketed, NEMA 4 rated enclosures.

2.	The telephone entry system shall be of hands-free design, but allow for the addition of a hand set if desired by the user.

3.	The speaker holes shall be offset to protect the speaker from vandalism.

4.	Surface and Wall mount models shall include LED lighting to illuminate the faceplate and keypad areas.

4.	The system shall utilize metal keypad and metal push buttons.

5.	The control board shall be mounted to the rear of the system enclosure to protect it from vandalism.

6.	The stainless steel faceplate shall be reinforced with a galvanized steel sub-plate. Faceplate shall be non-magnetic steel alloy #304 or #316 as per ASTM A167, A176, A408, and A484.

2.3	EQUIPMENT

Select Access Plus system model. Delete four of the following five items (A-B-C-D-E).

A.	Model 1802 Access Plus Telephone Entry and Access Control System.

1.	Controls two access points.

2.	Expandable to control up to 6 additional access points.

3.	No directory.

4.	Mounting

i.	Surface Mount

6.5” wide x 5” deep x 12” high

ii.	Flush Mount

8.38” wide x 3.25” deep x 12” high.

B.	Model 1808 Access Plus Telephone Entry and Access Control System.

1.	Controls two access points.

2.	Expandable to control up to 6 additional access points.

3.	Directory will hold up to 12 names.

4.	Mounting

i.	Surface Mount

11” wide x 6.5” deep x 7.5” high

C.	Model 1810 Access Plus Telephone Entry and Access Control System.

1.	Controls two access points.

2.	Expandable to control up to 6 additional access points.

3.	Directory will hold up to 27 names.

4.	Mounting

Delete one of the following two items (i-ii).

i.	Surface Mount

11.25” wide x 4.75” deep x 13” high.

ii.	Flush Mount

12” wide x 3.25” deep x 13.25” high.

Flush mount unit requires P/N 1814-165 Flush Mount Kit.

D.	Model 1812 Access Plus Telephone Entry and Access Control System.

1.	Controls two access points.

2.	Expandable to control up to 6 additional access points.

3.	Mounting

Delete three of the following four items (i-ii-iii-iv).

i.	Surface Mount Curved

10.88” wide x 6” deep x 7.38” high.

ii.	Surface Mount

10” wide x 5.25” deep x 6.13” high.

iii.	Flush Mount

11.88” wide x 4.5” deep x 9.13” high.

E.	Model 1838 Access Plus Access Control System.

1.	Controls two access points.

2.	Expandable to control up to 6 additional access points.

3.	Mounting

i.	Surface Mount

12.25” wide x 4.25” deep x 10.25” high.

2.4 	OPTIONS

The following paragraphs are optional items.  Delete if not required.

A.	RS-485 Access Control Devices.

RS-485 access control devices are used when more than two (2) entry points need to be controlled, or when card, keypad or RF access is to be added to the access control system.  At least one (1) RS-485 device is required when using the 1838 Access Plus controller.

i.	Card Readers.

All card readers are “proximity” type readers and use RS-485 communication protocol, which allows the reader to be up to 4,000 feet away from the access plus controller.  Card readers are housed in a surface / post mount enclosure that is NEMA 4 rated.  Choose the make of card reader required.  Do not mix and match different makes of readers.

a. DKS RS-485 Card Reader (P/N 1815-232)

b. AWID RS-485 Card Reader (P/N 1815-233)

c. HID RS-485 Card Reader (P/N 1815-234)

ii.	Digital Keypads.

Keypads allow entry when a user enters their 5-digit Personal Identity Code (PIN).  Keypads are available in three mounting styles.

a. Surface Mount non-lighted (P/N 1513-080)

b. Surface mount - lighted (P/N 1513-081)

c. Flush mount - lighted (P/N 1513-082)

iii.	Wireless Secure RF Control

Wireless MicroPlus RF controls allow remote access of an entry point.  RF controls are typically used with automatic vehicular gate operations.

a. MicroPlus RS-485 RF Receiver (P/N 8053-080)

iv.	Relay Conversion Board

The relay conversion board allows 26-bit weigand devices to operate with the Access Plus system by converting the weigand data to RS-485 protocol.

a. RS-485 conversion board only (P/N 2354-010)

b. RS-485 conversion board in metal NEMA 4 rated lockable 			enclosure (P/N 1815-235).

B.	Telephone Intercom Expansion

The 1816 Access Plus expands the “No Phone Line” telephone intercom interface on 1810 and the 1812 Access Plus systems from a single phone line up to 11 phone lines.  This can be further expanded to interface with up to a maximum 23 phone lines with the addition of a relay expansion board.  This is not a stand-alone system; it must interface with the 1810 or 1812 Access Plus controllers.  Note that a RJ71C phone block and a connecting cable are required for each 12-line expansion used.

i.	1816 Access Plus No-Phone-Line expansion module (P/N 1816-083)

ii.	Relay board expansion (P/N 1982-010)

iii.	RJ71C Phone Block (P/N 2370-010)

iv.	Connecting Cable (P/N 1882-042)

C. Mounting kits.

Mounting kits simplify installation.  The manufacturer recommends the use of the flush mounting kit (p/n 1814-165) whenever the flush mount design is specified.

i.	Surface mount recess kit (p/n 1803-150).

Use with surface mount 1810 unit only.

ii.	Flush mount kit (p/n 1814-165).

Use with flush mount 1810 unit only.

D.	LED Light Kit (p/n 1720-080).

LED light kits provide additional lighting and can be used with the surface mount units only.

PART 3 - EXECUTION

3.1	INSTALLATION

A.	Should be installed by qualified technicians who have been factory trained.

B. Wiring shall be uniform and in accordance with national electric codes and manufacturers instructions.

C.	Conform to the manufacturers written requirements for installation. Systems are available for the following types of installation.

1.	Surface or Flush (excludes 1808 and 1838) mounting.

2.	Flush mounted (1810) with the use of a flush kit (p/n 1814/165).

3.	Recess mounted (1810) with the use of a recess kit (p/n 1803-150).

4.	Post mounted using a heavy -duty gooseneck mounting post.

D. Equipment shall be firmly secured, plumb, and level.

E.	All splices shall be in easily accessible junction boxes or on terminal boards.

F.	All cable runs at the main control cabinets, in all auxiliary cabinets and at all phone blocks shall be tagged and identified.

G.	Coordinate all work with other effected trades and contractors.

H.	Fastenings:

1.	Fasten on gypsum board wall surfaces with screws into wood or metal blocking, or with bolts or molly anchors, not less than 1/4" diameter.  Screwing into gypsum board or plaster with plugs will not be acceptable.

2.	Fasten into concrete or masonry with self-drilling masonry anchors Phillips Redhead, Bulldog or Rawl Sabertooth.

3.2	SYSTEM INITIALIZING AND PROGRAMMING

A.	System shall include all software and/or instructions necessary for system configuration.

B.	System shall be turned on and adjustment made to meet requirements of specifications and on-site conditions.

C.	System shall be programmed to function as specified.

D.	Directory numbers, feature codes, and special programming shall be documented, printed and made available to all owners.

3.3	SYSTEM TEST PROCEDURES

A.	System shall be completely tested to assure that the exchange and all components, stations, speakers, and accessories are hooked-up and in working order.

B.	System shall be pre-tested by contractor and certified to function in accordance with plans and specifications.

C.	System shall be tested in presence of owner's representative.

3.4	OWNER INSTRUCTIONS

A.	Installation contractor shall conduct up to (4) hours of instruction in use and operation of the system to designated owner representatives, within (30) days of acceptance.

B.	Installation contractor shall conduct up to (4) hours of technical training, in programming, troubleshooting, and service of the system, to designated owner representatives within (90) days of system acceptance.

3.6	MANUALS AND DRAWINGS

A.	Contractor shall provide owner with (2) copies of standard factory prepared operation, installation and maintenance manuals.  Manuals shall include typical wiring diagrams.

B.	Contractor shall provide owner with (2) copies of any risers, layouts, and special wiring diagrams showing any changes to standard drawings, if required on project.

END OF SECTION